## Slide 1: Lighting Design

## Slide 2: What is the Differences between old and new Lighting system?
Why we need
smart home Lighting system?

## Slide 3: 1
Many switches
Ugly and hard to use
1 Panel
User Friendly

## Slide 4: Digital experience, control, simple
Easy for all users with graphic multi language

## Slide 5: 2
More conduits
More back boxes
Less conduits
1 back box

## Slide 6: 3
Not stable wiring
Not organized
Life time wiring
Organized and labeled

## Slide 7: 4
More control
1 network
Flexibility
Saving Energy

## Slide 8: How we control the lights? By ON/OFF By Dimming

## Slide 9: Expression
What is Din rail

## Slide 10: What is lighting Channel?
How to calculate Amp?

## Slide 11: What is lighting Channel?
How to calculate Amp?
The channel is set of lights turning On/OFF together
Amp= Watt/Volt
If a lamp of 50 watt than
50/220volt= 0.2 A

## Slide 12: ON/OFF Relay 4 Ch 20 A Relay 4 Ch 16 A Relay 6 Ch 16 A Relay 8 Ch 16 A Relay 12 Ch 10A Relay 3 Ch 01A
Dimming
Dimmer 2 Ch 6 A Dimmer 4 Ch 3 A
Dimmer 6 Ch 2 A

## Slide 13: Where to use Dimmer ? Where to use Relay?

## Slide 16: Smart-Bus Lighting controller
Relay connection

## Slide 17: Floor Lighting Example
Each spot of 50 Watt

## Slide 18: Exercise