## Slide 1: Smart Bus connection Topology and Adresses
Course 20 Minutes
Test 10 Minutes

## Slide 2: What is Smart Bus?
What is Bus?

## Slide 3: What is Smart Bus?
What is Bus?

## Slide 4: Where is smart bus line?
Smart bus = RS485

## Slide 6: In What correct Topology We can connect our bus cable?

## Slide 7: We can use any Topology to connect…

## Slide 8: Easy to wire , install and program
AS Simple as Christmas Tree Wire Concept
10- 100 – 1000 – 0r even 56000 Bulbs on one Wire
Internet Have Millions of Nodes and PC’s Working at same Time

## Slide 9: How many Power supply we need?
24V DC /2A output
24V DC 1.1 A output
Average consumption for each module 35mA